| AMERICAN AIR FILTER PO BOX 35690 LOUISVILLE KY 40232-5690 | SUBMITTAL MAR/22 |
| --- | --- |
| AIR FILTRATION PRODUCTS | VARICEL NO-HEADER METAL CELL SIDES PAN STYLE CONSTRUCTION |

| AAF CONTROL NO.: |  | P.O.: |  |
| --- | --- | --- | --- |
| DATE: | July 30, 2026 | BY: |  |
| CUSTOMER: |  | LOCATION: |  |
| CONTACT NAME: |  | REFERENCE: |  |

SIZE:  AS SHOWN ON DRAWINGS OR LISTED BELOW.

SECTION 1 - MEDIA - WATER REPELLANT GLASS MICROFIBER:

MERV 11 / 60%			  		(Q)

MERV 13 / 80%			 		(R)

MERV 14 / 90%	  		 		(S)

Special -      				(X)

SECTION 2 - CELL SIDE MATERIAL:

Galvanized Steel				(20)

304 - Stainless Steel				(26)

Mill Finish Aluminum				(29)

Special -      				(99)

SECTION 3 - SEPARATORS:

Aluminum				 	(J)

Vinyl Coated Aluminum	 			(V)

Special -      				(Z)

SECTION 4 - BOND MATERIAL:

FR Polyurethane				(1)

Special -      				(9)

SECTION 5 - GASKET MATERIAL (1/4” x 3/4” w/ Butt Joints):

None						(P)

Neoprene					(T)

Special -      				(Z)

SECTON 6 - GASKET LOCATION:

None						(0)

Air Entering Side				(1)

Air Leaving Side					(2)

Both Sides					(3)

Special -      				(4)

SECTION 7 - FACTORY TEST:

None (No Testing Required)			(W)

Special -      				(E)

SECTION 8 – FACEGUARD (Flattened, Expanded Galvanized Metal):

No Faceguard					(0)

Faceguard Upstream				(1)

Faceguard Downstream				(2)

Faceguard Both Sides				(3)

Special -      				(4)

| QUANTITY | PART NUMBER | STYLE CODE | H | W | D | NOTES |
| --- | --- | --- | --- | --- | --- | --- |

Signature: ____________________________________________                               Date: ______________________________

STYLE CODE BUILDER

(USE CODES ON PREVIOUS PAGE AND SIZE CODE BELOW THEN INSERT INTO TABLE ABOVE)

| SIZE (SEE BELOW) | MEDIA (1) | CELL SIDE MATERIAL (2) | SEPARATORS (3) | BOND MATERIAL (4) | GASKET MATERIAL (5) | GASKET LOCATION (6) | ACCEPTANCE LEVEL (7) | FACEGUARD LOCATION (8) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

VARICEL NH SIZE CODE CHART

| SIZE CODE | “A” DIM | “B” DIM | “C” DIM |
| --- | --- | --- | --- |
| 12 | 8 | 8 | 5-7/8 |
| 13 | 12 | 12 | 5-7/8 |
| 14 | 24 | 24 | 5-7/8 |
| 15 | 24 | 24 | 11-1/2 |
| 16 | 24 | 30 | 11-1/2 |
| 31 | 12 | 12 | 11-1/2 |
| 32 | 12 | 24 | 11-1/2 |
| 41 | 23-3/8 | 23-3/8 | 5-7/8 |
| 42 | 23-3/8 | 23-3/8 | 11-1/2 |
| 44 | 24 | 12 | 11-1/2 |
| 45 | 24 | 30 | 5-7/8 |
| 71 | 30 | 24 | 11-1/2 |
| 72 | 19-3/8 | 23-3/8 | 11-1/2 |
| 73 | 19-3/8 | 19-3/8 | 11-1/2 |
| 74 | 17-3/8 | 23-3/8 | 11-1/2 |
| 75 | 15-3/8 | 24-3/8 | 11-1/2 |
| 76 | 11-3/8 | 23-3/8 | 11-1/2 |
| 77 | 19-3/8 | 24-3/8 | 5-7/8 |
| 78 | 19-3/8 | 23-3/8 | 5-7/8 |
| 81 | 19-3/8 | 19-3/8 | 5-7/8 |
| 82 | 17-3/8 | 23-3/8 | 5-7/8 |
| 83 | 15-3/8 | 24-3/8 | 5-7/8 |
| 84 | 15-3/8 | 19-3/8 | 5-7/8 |
| 85 | 15-3/8 | 19-3/8 | 11-1/2 |
| 86 | 11-3/8 | 23-3/8 | 5-7/8 |
| 87 | 19-3/8 | 24-3/8 | 11-1/2 |
| 92 | 23-3/8 | 11-3/8 | 11-1/2 |
| 49 | ALL OTHER | SIZES |  |