Middle Atlantic Products, Inc.	August 2006

Phone	(973) 839-1011

Fax	(973) 839-1976

Website	middleatlantic.com

E-mail	info@middleatlantic.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers and titles are from MasterFormat 2004 Edition.

SECTION 27 11 16

DVR LOCKBOXES

Specifier Notes:  This section covers Middle Atlantic Products, Inc. DLBX Series DVR Lockbox.  Consult Middle Atlantic Products for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	DVR lockboxes.

1.2	RELATED SECTIONS

Specifier Notes:  List sections with work directly related to this section.

A.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	EIA/TIA 310D – Cabinets, Racks, Panels and Associated Equipment.

B.	ISO 9001:2000 – Quality Management Systems – Requirements.

1.4	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data, including options.

C.	Warranty:  Submit manufacturer’s standard warranty.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:  ISO 9001:2000 registered company.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.	Storage:  Store materials in clean, dry area indoors in accordance with manufacturer’s instructions.

C.	Handling:  Protect materials and finish during handling and installation to prevent damage.

1.7	WARRANTY

A.	Warranty Period:  Product lifetime.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Middle Atlantic Products, Inc.  Phone (973) 839-1011.  Fax (973) 839-1976.  Website middleatlantic.com.  E-mail info@middleatlantic.com.

2.2	DVR LOCKBOXES

A.	DVR Lockboxes:  DLBX Series DVR Lockbox.

1.	Model:  DLBX.

2.	Type:  19-inch DVR lockbox.

3.	Compliance:  EIA/TIA 310D.

4.	Overall Dimensions:

a.	Width:  23.87 inches (606 mm).

b.	Height:  11.34 inches (288 mm).

c.	Depth:  28.24 inches (717 mm).

5.	Interior Dimensions:

a.	Width:  22.88 inches (581 mm).

b.	Height:  11.07 inches (281 mm).

c.	Depth:  26.75 inches (680 mm).

6.	Weight Capacity:  100 pounds.

7.	Material:  Fully welded, 16-gauge steel.

8.	Front Door:

a.	Factory installed.

b.	Keylocked.

c.	Solid.

d.	Hinging.

9.	Top:

a.	Mechanically interlocking.

b.	Removable.

10.	Fan:

a.	Type:  Ball bearing, 11 V, 95 cfm.

b.	Size:  4-1/2-inches.

c.	Filters:  2, washable, removable.

d.	Fan cover plate.

11.	Knockouts:  For cable pass-through on back, bottom, and sides.

a.	Electrical Knockouts:  1/2 inch, 3/4 inch, 1 inch, and 1-1/2 inches.

b.	Laser Knockouts:  2 inches by 4 inches.

12.	Cable Management:  Tie points.

13.	Mounting:  Mounts vertically or horizontally to wall.

2.3	OPTIONS

Specifier Notes:  Specify required options.  Delete options not required.  Consult Middle Atlantic Products for more information.

A.	Wall-Mount Brackets:  Pair.

B.	Rackrail:  11-gauge steel, 10-32 threaded, pair, includes hardware.

C.	Fan Control:  Proportional-speed, thermostatic fan controller.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive DVR lockboxes.

B.	Notify Architect of conditions that would adversely affect installation or subsequent use.

C.	Do not begin installation until unacceptable conditions are corrected.

3.2	INSTALLATION

A.	Install DVR lockboxes in accordance with manufacturer’s instructions at locations indicated on the Drawings.

B.	Install DVR lockboxes plumb, level, square, and secure.

3.3	ADJUSTING

A.	Adjust operating hardware to operate smoothly without binding.

B.	Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.

3.4	PROTECTION

A.	Protect installed DVR lockboxes from damage during construction.

END OF SECTION