Middle Atlantic Products, Inc.	August 2006

Phone	(973) 839-1011

Fax	(973) 839-1976

Website	middleatlantic.com

E-mail	info@middleatlantic.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers and titles are from MasterFormat 2004 Edition.

SECTION 27 11 26

115-VOLT RACKMOUNT POWER STRIPS

Specifier Notes:  This section covers Middle Atlantic Products, Inc. PD-915R 115-Volt Rackmount Power Strips.  Consult Middle Atlantic Products for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	115-volt rackmount power strips.

1.2	RELATED SECTIONS

Specifier Notes:  List sections with work directly related to this section.

A.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ISO 9001:2000 – Quality Management Systems – Requirements.

B.	UL – Underwriters Laboratories.

1.4	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data.

C.	Warranty:  Submit manufacturer’s standard warranty.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:  ISO 9001:2000 registered company.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.	Storage:  Store materials in clean, dry area indoors in accordance with manufacturer’s instructions.

C.	Handling:  Protect materials and finish during handling and installation to prevent damage.

1.7	WARRANTY

A.	Warranty Period:  3 years.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Middle Atlantic Products, Inc.  Phone (973) 839-1011.  Fax (973) 839-1976.  Website middleatlantic.com.  E-mail info@middleatlantic.com.

2.2	115-VOLT RACKMOUNT POWER STRIPS

A.	115-Volt Rackmount Power Strips:

Specifier Notes:  Specify rackmount power strip model number and other data.  Consult Middle Atlantic Products product information.

1.	Model:  [PD-915R]  [PD-815R-PL]  [PD-815RC-PL]  [PD-920R-NS].

2.	UL Listed:  US and Canada.

3.	Capacity:  [15 Amps]  [20 Amps].

4.	Material:  16-gauge steel.

5.	Finish:  Black powder coat.

6.	Occupy:  1 rackspace.

7.	Nominal Power:  115 V AC, 60 Hz.

8.	Power Cord:  14/3, 9 feet long, with NEMA [5-15P]  [5-20P] plug.

9.	Power Outlets:

a.	Rear Outlet Type:  NEMA [5-15R]  [5-20R].

b.	Front:  [1]  [0].

c.	Rear:  8.

10.	Circuit Breaker:

a.	Capacity:  [15 Amps]  [20 Amps].

b.	Location:  [Front]  [Rear].

Specifier Notes:  Include the following paragraph when specifying a 15-Amp model.

B.	Differential and Common-Mode Surge and Spike Protection and EMI Filtering:

1.	Nominal Line Voltage:  120 V AC.

2.	Maximum Line Current:  15 Amps.

3.	Maximum Allowable Voltage:  125 V AC (RMS).

4.	Protection Modes:

a.	Line to neutral.

b.	Line to ground.

c.	Neutral to ground.

5.	Peak Impulse Current (8/20 microseconds):

a.	One Time:  10,000 Amps.

b.	Two Times within 5 Minutes:  7,000 Amps.

c.	Ten Times within 2 Minutes:  3,000 Amps.

6.	Maximum Clamping Voltage:  395 volts at 100 Amps.

7.	Response Time:  Instantaneous (less than 1 nanosecond).

8.	EMI/RF Suppression:  More than 20 dB.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive 115-volt rackmount power strips.

B.	Notify Architect of conditions that would adversely affect installation or subsequent use.

C.	Do not begin installation until unacceptable conditions are corrected.

3.2	INSTALLATION

A.	Install 115-volt rackmount power strips in accordance with manufacturer’s instructions at locations indicated on the Drawings.

B.	Install 115-volt rackmount power strips plumb, level, square, and secure.

3.3	ADJUSTING

A.	Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.

3.4	PROTECTION

A.	Protect installed 115-volt rackmount power strips from damage during construction.

END OF SECTION