Middle Atlantic Products, Inc.	August 2006

Phone	(973) 839-1011

Fax	(973) 839-1976

Website	middleatlantic.com

E-mail	info@middleatlantic.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers and titles are from MasterFormat 2004 Edition.

SECTION 27 11 26

SLIM VERTICAL POWER STRIPS

Specifier Notes:  This section covers Middle Atlantic Products, Inc. PD Series Slim Power Strip.  Consult Middle Atlantic Products for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Slim vertical power strips.

1.2	RELATED SECTIONS

Specifier Notes:  List sections with work directly related to this section.

A.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ISO 9001:2000 – Quality Management Systems – Requirements.

B.	UL 1363 – Standard for Relocatable Power Taps.

C.	UL 1449 – Standard for Transient Voltage Surge Suppressors.

1.4	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data, including options.

C.	Warranty:  Submit manufacturer’s standard warranty.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:  ISO 9001:2000 registered company.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.	Storage:  Store materials in clean, dry area indoors in accordance with manufacturer’s instructions.

C.	Handling:  Protect materials and finish during handling and installation to prevent damage.

1.7	WARRANTY

A.	Warranty Period:  3 years.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Middle Atlantic Products, Inc.  Phone (973) 839-1011.  Fax (973) 839-1976.  Website middleatlantic.com.  E-mail info@middleatlantic.com.

2.2	SLIM VERTICAL POWER STRIPS

A.	Slim Vertical Power Strips:  PD Series Slim Power Strip.

Specifier Notes:  Specify slim vertical power strip model number and other data.  Consult Middle Atlantic Products product information.

1.	Model:  PD-__________ .

2.	Type:  High-density slim power strip.

3.	Compliance:  UL 1363 and UL 1449.

4.	UL Listed:  US.

Specifier Notes:  All slim vertical power strips are CSA certified, except Model PD-2420SC-NS.

5.	CSA certified.

6.	Use:  Indoors, dry locations.

7.	Dimensions:

a.	Length:  _____ inches ( _____ mm).

b.	Depth:  1.25 inches (32 mm).

c.	Width:  1.6 inches (41 mm).

8.	Chassis:  Aluminum.

9.	Finish:  Anodized.

10.	Outlets:

Specifier Notes:  Model PD-2420SC-NS includes two NEMA 5-20R outlets.

a.	Type:  [NEMA 5-15R]  [NEMA 5-20R].

b.	Total Number:  __________ .

c.	Number of Outlets Spaced to Accommodate Plug-in Power Supplies:  __________ .

11.	Number of Circuits:  1.

12.	Capacity:  15 Amps.

13.	Protection:  __________ .

14.	Power Cord:  10 feet.

15.	Plug:  NEMA 5-15P.

16.	Mounting hardware.

2.3	OPTIONS

Specifier Notes:  Specify required options.  Delete options not required.  Consult Middle Atlantic Products for more information.

A.	Rackmounting Bracket:  Mounts any extra-short power strip between rackrail of any rack.  Cable management tie points included.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive slim vertical power strips.

B.	Notify Architect of conditions that would adversely affect installation or subsequent use.

C.	Do not begin installation until unacceptable conditions are corrected.

3.2	INSTALLATION

A.	Install slim vertical power strips in accordance with manufacturer’s instructions at locations indicated on the Drawings.

B.	Install slim vertical power strips plumb, level, square, and secure.

3.3	ADJUSTING

A.	Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.

3.4	PROTECTION

A.	Protect installed slim vertical power strips from damage during construction.

END OF SECTION