Middle Atlantic Products, Inc.	August 2006

Phone	(973) 839-1011

Fax	(973) 839-1976

Website	middleatlantic.com

E-mail	info@middleatlantic.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers and titles are from MasterFormat 2004 Edition.

SECTION 27 11 26

RACKMOUNT POWER SEQUENCERS

Specifier Notes:  This section covers Middle Atlantic Products, Inc. PDS Series Rackmount Power Sequencer.  Consult Middle Atlantic Products for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Rackmount power sequencers.

1.2	RELATED SECTIONS

Specifier Notes:  List sections with work directly related to this section.

A.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	EIA/TIA 310D – Cabinets, Racks, Panels and Associated Equipment.

B.	ISO 9001:2000 – Quality Management Systems – Requirements.

C.	UL – Underwriters Laboratories.

1.4	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data.

C.	Warranty:  Submit manufacturer’s standard warranty.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:  ISO 9001:2000 registered company.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.	Storage:  Store materials in clean, dry area indoors in accordance with manufacturer’s instructions.

C.	Handling:  Protect materials and finish during handling and installation to prevent damage.

1.7	WARRANTY

A.	Warranty Period:  3 years.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Middle Atlantic Products, Inc.  Phone (973) 839-1011.  Fax (973) 839-1976.  Website middleatlantic.com.  E-mail info@middleatlantic.com.

2.2	RACKMOUNT POWER SEQUENCERS

A.	Rackmount Power Sequencers:  PDS Series Rackmount Power Sequencer.

Specifier Notes:  Specify rackmount power sequencer model number and other data.  Consult Middle Atlantic Products product information.

1.	Model:  PDS-__________ .

2.	Compliance:  EIA/TIA 310D.

3.	UL Listed:  US and Canada.

4.	Overall Dimensions:

a.	Width:  19.00 inches (482 mm).

b.	Depth:  8.75 inches (222 mm).

c.	Height:  1.75 inches (44 mm).

5.	Material:  18-gauge steel.

6.	Finish:  Black powder coat.

7.	Power:  115 V AC, 60 Hz.

8.	Number of Circuits:  __________ .

9.	Outlet Type:  NEMA 5-__________ .

10.	Cord Termination:

a.	Number of Power Cords:  __________ .

b.	Power Cords:  9 feet, 3-wire.

c.	Plug Type:  NEMA 5-__________ .

11.	Rear Contact Closure:  Status indication to compatible monitoring device.

12.	Contacts:

a.	Closed:  When all channels are on.

b.	Open:  When all channels are closed.

13.	Rear-Mounted Receptacles:

a.	Number:  6.

b.	Capacity:  __________ Amps.

c.	Type:  NEMA 5-__________ .

d.	Six-step sequencing.

14.	Unswitched and Uncontrolled Rear-Mounted Receptacles:

a.	Number:  1.

b.	Capacity:  __________ Amps.

15.	Front-Mounted Circuit Breakers:

a.	Capacity:  __________ Amps.

16.	Front-mounted master switch.

17.	Start Delay Times:  Adjustable.

18.	Sequence Intervals:  Adjustable.

19.	Activate System:  Locally via front panel or remotely via rear terminal block.

20.	Rear Control Terminal:  Remote control via single-pole double-throw, center-off momentary switch such as USC-K or USC-SW.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive rackmount power sequencers.

B.	Notify Architect of conditions that would adversely affect installation or subsequent use.

C.	Do not begin installation until unacceptable conditions are corrected.

3.2	INSTALLATION

A.	Install rackmount power sequencers in accordance with manufacturer’s instructions at locations indicated on the Drawings.

B.	Install rackmount power sequencers plumb, level, square, and secure.

3.3	ADJUSTING

A.	Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.

3.4	PROTECTION

A.	Protect installed rackmount power sequencers from damage during construction.

END OF SECTION