Sewer Line clog

Address:  7 Saint George’s Road, Baltimore, MD 21210

Incident: Jan 16th.

We discovered sewage in the basement and since this has happened before I checked the sewer access port down the hill by the sidewalk.  When I removed the cap the water trapped in the line quickly flowed out onto the street. The blockage was not between the house and the street.  A plumber was called and they snaked out the line and discovered a blockage some 23’ from the sidewalk out under Saint Georges Road.

It has been a few years since this happened last but someone should investigate the sewer line and repair it as needed. 

Thank you,
