## simple
Requirement Confirmation Checklist
Below information are necessary for system design, please provide as much detail as possible, * means must fill in. if multiple systems required, please fill system information in a separate page
No. | Item |  | Unit | Description/SPEC | Remark
1 | Project Information | Name of customer
Type of customer
Project location
2 | Schedule | Date for proposal
Date for shipment
Date for installation
3 | Expected function | System Application*
System Functions
Description of expected system function in detail
4 | Utility | Utility voltage(3 phase)* | V
|  | Utility frequency* | Hz
Utility stability*
5 | PV | Equivalent peak radiation time per day | H
Installation type
|  | PV Capacity | kWp
|  | PV Module Tender & Specification | Wp
PV Inverter Tender & Specification
Has PV been installed
6 | DG | Diesel Generator availability
|  | Diesel Generator capacity | kVA
Diesel Generator control
Diesel Generator conmunication
7 | Load | Peak load consumption* | kW
|  | Percentage of inductive load | %
|  | Average load consumption | kW
Inductive load list
8 | Battery | Battery charging and discharging rate | C |  | Or charging and discharging time
|  | Battery Capacity | kWh
If Dyness recommends a battery pack, is it the inverter recommended by Dyness?
9 | Installation | Installation Environment*
10 | Transformer | Voltage
|  | Capacity | kVA
Type
11 | Monitoring System | Does the customer have their own EMS monitoring system
12 | Seamless Switch | On-grid/off-grid seamless switch
13 | Product Warranty | Inverter Warranty | Year
|  | Battery Warranty | Year
|  | Others Accessaries | Year
14 | Certification | Certification Requirement
15 | Others | Other requirements
Stable
Not stable
No utility
Other:
Off-grid
On-grid
on-grid&off-grid (Switching On-Off Grid)
Rooftop
Ground
Hills
Orientation:
Yes
No
Automatical
Manual
Dry contact
RS232
RS485
Outdoor
Indoor
TT
TN-C
Back-Up
Peak-Shaving
Micro-grid
PV self-generator & self-use
FRR/FCR
Timed charging and discharging
Yes
No
3-year
5-year
10-year
5-year
10-year
1-year
IT
Yes
No
CE
Others
Container
TN-S
TN-C-S
Yes
No